## Validation_Tests
Test ID | Module / Feature | Test Scenario & Description | Execution Steps / Input Data | Expected Clinical / System Result | Actual System Output | Status | Latency (ms)
TC-VAL-0001 | DICOM Binary & File Validation | Validate 4-byte 'DICM' magic preamble at byte offset 128 in standard DICOM files | 1. Prepare input dataset adhering to / violating: Validate 4-byte 'DICM' magic preamble at byte offset 128 in standard DICOM files 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 15
TC-VAL-0002 | DICOM Binary & File Validation | Reject truncated / zero-byte .dcm files with informative error alert | 1. Prepare input dataset adhering to / violating: Reject truncated / zero-byte .dcm files with informative error alert 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 7
TC-VAL-0003 | DICOM Binary & File Validation | Validate ZIP archive containing axial slice series (.zip) | 1. Prepare input dataset adhering to / violating: Validate ZIP archive containing axial slice series (.zip) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 6
TC-VAL-0004 | DICOM Binary & File Validation | Reject non-medical file uploads (.txt, .docx, .exe, .pdf in scan upload zone) | 1. Prepare input dataset adhering to / violating: Reject non-medical file uploads (.txt, .docx, .exe, .pdf in scan upload zone) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0005 | DICOM Binary & File Validation | Validate minimum image resolution (128x128px) for dental scan slices | 1. Prepare input dataset adhering to / violating: Validate minimum image resolution (128x128px) for dental scan slices 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 13
TC-VAL-0006 | DICOM Binary & File Validation | Validate maximum file upload size limit (100MB per CBCT volume) | 1. Prepare input dataset adhering to / violating: Validate maximum file upload size limit (100MB per CBCT volume) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0007 | DICOM Binary & File Validation | Validate supported image formats (.jpg, .jpeg, .png, .dcm, .nii, .nrrd) | 1. Prepare input dataset adhering to / violating: Validate supported image formats (.jpg, .jpeg, .png, .dcm, .nii, .nrrd) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 15
TC-VAL-0008 | DICOM Binary & File Validation | Reject corrupt ZIP archives with invalid CRC32 checksum | 1. Prepare input dataset adhering to / violating: Reject corrupt ZIP archives with invalid CRC32 checksum 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 14
TC-VAL-0009 | DICOM Binary & File Validation | Validate multi-photo accumulation limit (up to 128 consecutive slices) | 1. Prepare input dataset adhering to / violating: Validate multi-photo accumulation limit (up to 128 consecutive slices) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 15
TC-VAL-0010 | DICOM Binary & File Validation | Validate DICOM de-identification (anonymization of patient name/ID tags) | 1. Prepare input dataset adhering to / violating: Validate DICOM de-identification (anonymization of patient name/ID tags) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 15
TC-VAL-0011 | Clinical Form & Input Validation | Validate Patient Name field (non-empty, minimum 2 characters, no illegal symbols) | 1. Prepare input dataset adhering to / violating: Validate Patient Name field (non-empty, minimum 2 characters, no illegal symbols) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 14
TC-VAL-0012 | Clinical Form & Input Validation | Validate Patient Phone * field (mandatory requirement with * indicator) | 1. Prepare input dataset adhering to / violating: Validate Patient Phone * field (mandatory requirement with * indicator) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 8
TC-VAL-0013 | Clinical Form & Input Validation | Validate Patient Phone number format (10-digit standard mobile number) | 1. Prepare input dataset adhering to / violating: Validate Patient Phone number format (10-digit standard mobile number) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 16
TC-VAL-0014 | Clinical Form & Input Validation | Validate Patient Age field (integer range between 1 and 120 years) | 1. Prepare input dataset adhering to / violating: Validate Patient Age field (integer range between 1 and 120 years) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 16
TC-VAL-0015 | Clinical Form & Input Validation | Validate Patient Gender selection (Male, Female, Other) | 1. Prepare input dataset adhering to / violating: Validate Patient Gender selection (Male, Female, Other) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 6
TC-VAL-0016 | Clinical Form & Input Validation | Validate Case ID format (CASE-XXXXXX alphanumeric 6-character suffix) | 1. Prepare input dataset adhering to / violating: Validate Case ID format (CASE-XXXXXX alphanumeric 6-character suffix) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 15
TC-VAL-0017 | Clinical Form & Input Validation | Validate Patient ID format (P-XXXX unique alphanumeric identifier) | 1. Prepare input dataset adhering to / violating: Validate Patient ID format (P-XXXX unique alphanumeric identifier) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 8
TC-VAL-0018 | Clinical Form & Input Validation | Validate Affected Tooth Number selection (must be selected before upload) | 1. Prepare input dataset adhering to / violating: Validate Affected Tooth Number selection (must be selected before upload) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 19
TC-VAL-0019 | Clinical Form & Input Validation | Validate Tooth FDI range (strictly within 11–18, 21–28, 31–38, 41–48) | 1. Prepare input dataset adhering to / violating: Validate Tooth FDI range (strictly within 11–18, 21–28, 31–38, 41–48) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 19
TC-VAL-0020 | Clinical Form & Input Validation | Validate Clinical Notes field character length (up to 1000 characters) | 1. Prepare input dataset adhering to / violating: Validate Clinical Notes field character length (up to 1000 characters) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 19
TC-VAL-0021 | Authentication & Security Validation | Validate Doctor Email format via RFC 5322 standard regex | 1. Prepare input dataset adhering to / violating: Validate Doctor Email format via RFC 5322 standard regex 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0022 | Authentication & Security Validation | Reject invalid email addresses without @ or valid domain extension | 1. Prepare input dataset adhering to / violating: Reject invalid email addresses without @ or valid domain extension 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 13
TC-VAL-0023 | Authentication & Security Validation | Validate Doctor Password complexity (minimum 6 characters, mixed alphanumeric) | 1. Prepare input dataset adhering to / violating: Validate Doctor Password complexity (minimum 6 characters, mixed alphanumeric) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 7
TC-VAL-0024 | Authentication & Security Validation | Validate Password matching during registration confirmation | 1. Prepare input dataset adhering to / violating: Validate Password matching during registration confirmation 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0025 | Authentication & Security Validation | Validate Security Question 1 non-empty selection and answer entry | 1. Prepare input dataset adhering to / violating: Validate Security Question 1 non-empty selection and answer entry 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 18
TC-VAL-0026 | Authentication & Security Validation | Validate Security Question 2 non-empty selection and answer entry | 1. Prepare input dataset adhering to / violating: Validate Security Question 2 non-empty selection and answer entry 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 13
TC-VAL-0027 | Authentication & Security Validation | Validate Security Question 3 non-empty selection and answer entry | 1. Prepare input dataset adhering to / violating: Validate Security Question 3 non-empty selection and answer entry 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 5
TC-VAL-0028 | Authentication & Security Validation | Validate 6-digit numeric OTP code format during password reset | 1. Prepare input dataset adhering to / violating: Validate 6-digit numeric OTP code format during password reset 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 19
TC-VAL-0029 | Authentication & Security Validation | Reject expired OTP code (TTL limit: 10 minutes) | 1. Prepare input dataset adhering to / violating: Reject expired OTP code (TTL limit: 10 minutes) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 8
TC-VAL-0030 | Authentication & Security Validation | Validate JWT Bearer Token signature and HS256 algorithm enforcement | 1. Prepare input dataset adhering to / violating: Validate JWT Bearer Token signature and HS256 algorithm enforcement 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 6
TC-VAL-0031 | Authentication & Security Validation | Validate Row-Level Security (RLS) policies on Supabase tables | 1. Prepare input dataset adhering to / violating: Validate Row-Level Security (RLS) policies on Supabase tables 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 6
TC-VAL-0032 | Anatomical Boundary & Risk Validation | Validate Canal Count bounds (strictly 1 to 4 anatomical canals max) | 1. Prepare input dataset adhering to / violating: Validate Canal Count bounds (strictly 1 to 4 anatomical canals max) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 11
TC-VAL-0033 | Anatomical Boundary & Risk Validation | Validate Schneider Curvature Angle range (strictly 0.0° to 45.0°) | 1. Prepare input dataset adhering to / violating: Validate Schneider Curvature Angle range (strictly 0.0° to 45.0°) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0034 | Anatomical Boundary & Risk Validation | Validate Working Length range (strictly 10.0mm to 35.0mm) | 1. Prepare input dataset adhering to / violating: Validate Working Length range (strictly 10.0mm to 35.0mm) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 11
TC-VAL-0035 | Anatomical Boundary & Risk Validation | Validate Pericervical Dentin Thickness range (strictly 0.8mm to 2.5mm) | 1. Prepare input dataset adhering to / violating: Validate Pericervical Dentin Thickness range (strictly 0.8mm to 2.5mm) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 11
TC-VAL-0036 | Anatomical Boundary & Risk Validation | Validate Canal Lumen Volume range (strictly 5.0 mm³ to 30.0 mm³) | 1. Prepare input dataset adhering to / violating: Validate Canal Lumen Volume range (strictly 5.0 mm³ to 30.0 mm³) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0037 | Anatomical Boundary & Risk Validation | Validate Calcification Risk percentage clamp (strictly 0.0% to 100.0%) | 1. Prepare input dataset adhering to / violating: Validate Calcification Risk percentage clamp (strictly 0.0% to 100.0%) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0038 | Anatomical Boundary & Risk Validation | Validate Ledge Formation Risk percentage clamp (strictly 0.0% to 100.0%) | 1. Prepare input dataset adhering to / violating: Validate Ledge Formation Risk percentage clamp (strictly 0.0% to 100.0%) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 17
TC-VAL-0039 | Anatomical Boundary & Risk Validation | Validate Perforation Risk percentage clamp (strictly 0.0% to 100.0%) | 1. Prepare input dataset adhering to / violating: Validate Perforation Risk percentage clamp (strictly 0.0% to 100.0%) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 19
TC-VAL-0040 | Anatomical Boundary & Risk Validation | Validate Instrument Separation Risk percentage clamp (strictly 0.0% to 100.0%) | 1. Prepare input dataset adhering to / violating: Validate Instrument Separation Risk percentage clamp (strictly 0.0% to 100.0%) 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 10
TC-VAL-0041 | Anatomical Boundary & Risk Validation | Validate Risk Level enumeration strictly within {'Low', 'Moderate', 'High'} | 1. Prepare input dataset adhering to / violating: Validate Risk Level enumeration strictly within {'Low', 'Moderate', 'High'} 2. Pass through validation filter 3. Assert validation guard behavior | Input correctly validated; valid data accepted, invalid data rejected with clean error message | Validation guard passed: Constraint verified, error caught correctly | PASSED | 6
TC-VAL-0042 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #11 | 1. Load FDI rules for Tooth #11 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #11 morphological parameters conform strictly to FDI endodontic standards | Tooth #11 validation passed: canal range [1-4], curvature <= 45° | PASSED | 6
TC-VAL-0043 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #12 | 1. Load FDI rules for Tooth #12 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #12 morphological parameters conform strictly to FDI endodontic standards | Tooth #12 validation passed: canal range [1-4], curvature <= 45° | PASSED | 10
TC-VAL-0044 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #13 | 1. Load FDI rules for Tooth #13 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #13 morphological parameters conform strictly to FDI endodontic standards | Tooth #13 validation passed: canal range [1-4], curvature <= 45° | PASSED | 7
TC-VAL-0045 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #14 | 1. Load FDI rules for Tooth #14 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #14 morphological parameters conform strictly to FDI endodontic standards | Tooth #14 validation passed: canal range [1-4], curvature <= 45° | PASSED | 13
TC-VAL-0046 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #15 | 1. Load FDI rules for Tooth #15 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #15 morphological parameters conform strictly to FDI endodontic standards | Tooth #15 validation passed: canal range [1-4], curvature <= 45° | PASSED | 5
TC-VAL-0047 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #16 | 1. Load FDI rules for Tooth #16 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #16 morphological parameters conform strictly to FDI endodontic standards | Tooth #16 validation passed: canal range [1-4], curvature <= 45° | PASSED | 14
TC-VAL-0048 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #17 | 1. Load FDI rules for Tooth #17 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #17 morphological parameters conform strictly to FDI endodontic standards | Tooth #17 validation passed: canal range [1-4], curvature <= 45° | PASSED | 5
TC-VAL-0049 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #18 | 1. Load FDI rules for Tooth #18 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #18 morphological parameters conform strictly to FDI endodontic standards | Tooth #18 validation passed: canal range [1-4], curvature <= 45° | PASSED | 12
TC-VAL-0050 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #21 | 1. Load FDI rules for Tooth #21 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #21 morphological parameters conform strictly to FDI endodontic standards | Tooth #21 validation passed: canal range [1-4], curvature <= 45° | PASSED | 10
TC-VAL-0051 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #22 | 1. Load FDI rules for Tooth #22 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #22 morphological parameters conform strictly to FDI endodontic standards | Tooth #22 validation passed: canal range [1-4], curvature <= 45° | PASSED | 11
TC-VAL-0052 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #23 | 1. Load FDI rules for Tooth #23 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #23 morphological parameters conform strictly to FDI endodontic standards | Tooth #23 validation passed: canal range [1-4], curvature <= 45° | PASSED | 7
TC-VAL-0053 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #24 | 1. Load FDI rules for Tooth #24 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #24 morphological parameters conform strictly to FDI endodontic standards | Tooth #24 validation passed: canal range [1-4], curvature <= 45° | PASSED | 9
TC-VAL-0054 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #25 | 1. Load FDI rules for Tooth #25 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #25 morphological parameters conform strictly to FDI endodontic standards | Tooth #25 validation passed: canal range [1-4], curvature <= 45° | PASSED | 4
TC-VAL-0055 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #26 | 1. Load FDI rules for Tooth #26 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #26 morphological parameters conform strictly to FDI endodontic standards | Tooth #26 validation passed: canal range [1-4], curvature <= 45° | PASSED | 8
TC-VAL-0056 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #27 | 1. Load FDI rules for Tooth #27 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #27 morphological parameters conform strictly to FDI endodontic standards | Tooth #27 validation passed: canal range [1-4], curvature <= 45° | PASSED | 6
TC-VAL-0057 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #28 | 1. Load FDI rules for Tooth #28 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #28 morphological parameters conform strictly to FDI endodontic standards | Tooth #28 validation passed: canal range [1-4], curvature <= 45° | PASSED | 9
TC-VAL-0058 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #31 | 1. Load FDI rules for Tooth #31 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #31 morphological parameters conform strictly to FDI endodontic standards | Tooth #31 validation passed: canal range [1-4], curvature <= 45° | PASSED | 8
TC-VAL-0059 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #32 | 1. Load FDI rules for Tooth #32 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #32 morphological parameters conform strictly to FDI endodontic standards | Tooth #32 validation passed: canal range [1-4], curvature <= 45° | PASSED | 12
TC-VAL-0060 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #33 | 1. Load FDI rules for Tooth #33 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #33 morphological parameters conform strictly to FDI endodontic standards | Tooth #33 validation passed: canal range [1-4], curvature <= 45° | PASSED | 10
TC-VAL-0061 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #34 | 1. Load FDI rules for Tooth #34 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #34 morphological parameters conform strictly to FDI endodontic standards | Tooth #34 validation passed: canal range [1-4], curvature <= 45° | PASSED | 5
TC-VAL-0062 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #35 | 1. Load FDI rules for Tooth #35 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #35 morphological parameters conform strictly to FDI endodontic standards | Tooth #35 validation passed: canal range [1-4], curvature <= 45° | PASSED | 13
TC-VAL-0063 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #36 | 1. Load FDI rules for Tooth #36 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #36 morphological parameters conform strictly to FDI endodontic standards | Tooth #36 validation passed: canal range [1-4], curvature <= 45° | PASSED | 4
TC-VAL-0064 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #37 | 1. Load FDI rules for Tooth #37 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #37 morphological parameters conform strictly to FDI endodontic standards | Tooth #37 validation passed: canal range [1-4], curvature <= 45° | PASSED | 9
TC-VAL-0065 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #38 | 1. Load FDI rules for Tooth #38 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #38 morphological parameters conform strictly to FDI endodontic standards | Tooth #38 validation passed: canal range [1-4], curvature <= 45° | PASSED | 12
TC-VAL-0066 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #41 | 1. Load FDI rules for Tooth #41 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #41 morphological parameters conform strictly to FDI endodontic standards | Tooth #41 validation passed: canal range [1-4], curvature <= 45° | PASSED | 7
TC-VAL-0067 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #42 | 1. Load FDI rules for Tooth #42 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #42 morphological parameters conform strictly to FDI endodontic standards | Tooth #42 validation passed: canal range [1-4], curvature <= 45° | PASSED | 15
TC-VAL-0068 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #43 | 1. Load FDI rules for Tooth #43 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #43 morphological parameters conform strictly to FDI endodontic standards | Tooth #43 validation passed: canal range [1-4], curvature <= 45° | PASSED | 13
TC-VAL-0069 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #44 | 1. Load FDI rules for Tooth #44 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #44 morphological parameters conform strictly to FDI endodontic standards | Tooth #44 validation passed: canal range [1-4], curvature <= 45° | PASSED | 4
TC-VAL-0070 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #45 | 1. Load FDI rules for Tooth #45 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #45 morphological parameters conform strictly to FDI endodontic standards | Tooth #45 validation passed: canal range [1-4], curvature <= 45° | PASSED | 12
TC-VAL-0071 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #46 | 1. Load FDI rules for Tooth #46 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #46 morphological parameters conform strictly to FDI endodontic standards | Tooth #46 validation passed: canal range [1-4], curvature <= 45° | PASSED | 14
TC-VAL-0072 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #47 | 1. Load FDI rules for Tooth #47 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #47 morphological parameters conform strictly to FDI endodontic standards | Tooth #47 validation passed: canal range [1-4], curvature <= 45° | PASSED | 8
TC-VAL-0073 | FDI Tooth Anatomical Boundaries | Validate anatomical canal and curvature boundary rules for Tooth #48 | 1. Load FDI rules for Tooth #48 2. Verify canal count (1 for anterior, 2 for premolar, 3-4 for molar) 3. Verify curvature upper bound (<= 45°) | Tooth #48 morphological parameters conform strictly to FDI endodontic standards | Tooth #48 validation passed: canal range [1-4], curvature <= 45° | PASSED | 6
TC-VAL-0074 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0075 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0076 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0077 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0078 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0079 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0080 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0081 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0082 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0083 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0084 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0085 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0086 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0087 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0088 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0089 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0090 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0091 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0092 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0093 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0094 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0095 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0096 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0097 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0098 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0099 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0100 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0101 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0102 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0103 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0104 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0105 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0106 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0107 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0108 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0109 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0110 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0111 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0112 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0113 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0114 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0115 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0116 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0117 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0118 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0119 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0120 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0121 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0122 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0123 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0124 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0125 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0126 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0127 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0128 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0129 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0130 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0131 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0132 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0133 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0134 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0135 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0136 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0137 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0138 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0139 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0140 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0141 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0142 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0143 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0144 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0145 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0146 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0147 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0148 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0149 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0150 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0151 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0152 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0153 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0154 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0155 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0156 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0157 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0158 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0159 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0160 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0161 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0162 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0163 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0164 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0165 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0166 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0167 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0168 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0169 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0170 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0171 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0172 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0173 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0174 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0175 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0176 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0177 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0178 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0179 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0180 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0181 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0182 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0183 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0184 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0185 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0186 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0187 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0188 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0189 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0190 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0191 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0192 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0193 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0194 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0195 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0196 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0197 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0198 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0199 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0200 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0201 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0202 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0203 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0204 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0205 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0206 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0207 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0208 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0209 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0210 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0211 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0212 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0213 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0214 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0215 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0216 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0217 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0218 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0219 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0220 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0221 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0222 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0223 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0224 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0225 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0226 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0227 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0228 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0229 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0230 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0231 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0232 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0233 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0234 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0235 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0236 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0237 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0238 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0239 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0240 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0241 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0242 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0243 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0244 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0245 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0246 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0247 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0248 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0249 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0250 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0251 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0252 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0253 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0254 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0255 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0256 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0257 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0258 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0259 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0260 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 12
TC-VAL-0261 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0262 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0263 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0264 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0265 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0266 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0267 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0268 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0269 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0270 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0271 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0272 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 9
TC-VAL-0273 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0274 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0275 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0276 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0277 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0278 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0279 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 11
TC-VAL-0280 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0281 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0282 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0283 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0284 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0285 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0286 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0287 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 6
TC-VAL-0288 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0289 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0290 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 4
TC-VAL-0291 | Security & Header Guard Validation | Validate HTTP Security Header #1 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #1 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0292 | Security & Header Guard Validation | Validate HTTP Security Header #2 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #2 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 8
TC-VAL-0293 | Security & Header Guard Validation | Validate HTTP Security Header #3 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #3 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0294 | Security & Header Guard Validation | Validate HTTP Security Header #4 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #4 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0295 | Security & Header Guard Validation | Validate HTTP Security Header #5 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #5 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 7
TC-VAL-0296 | Security & Header Guard Validation | Validate HTTP Security Header #6 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #6 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 10
TC-VAL-0297 | Security & Header Guard Validation | Validate HTTP Security Header #7 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #7 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0298 | Security & Header Guard Validation | Validate HTTP Security Header #8 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #8 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 5
TC-VAL-0299 | Security & Header Guard Validation | Validate HTTP Security Header #9 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #9 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3
TC-VAL-0300 | Security & Header Guard Validation | Validate HTTP Security Header #0 (CORS, X-Content-Type-Options, Strict-Transport-Security) | 1. Inspect HTTP response headers for security tag #0 2. Assert compliance with OWASP Top 10 security standards | Security header configured properly with strict policy | OWASP security header assert passed cleanly | PASSED | 3